## Data input
BIG>East Biogas Calculation | Farm based biogas plant, turn key project
| Project name: | AAAAAAAA
| Date: | 00.00.0000
This Project (Contract No. EIE/07/214) is supported by:
blue: | Input data | Costs negative, Revenues positive!
Red: | costs | Costs have to be negative numbers!
green: | revenues | Revenues have to be positive numbers!
purple: | results of calculations
Investment costs |  |  |  | Costs for maintainence in % of investment |  |  | Personnel Costs
| Year 0 (plant installation) | Year 1 | Year 2 | (without CHP) | Year 1 | Year 2 and later |  | Year 0 | Year 1 and later
Construction/Buildings/Earth works | 0 | 0 | 0 | 0% | 0 | 0 | Operators | 0 | 0
Machinery | 0 | 0 | 0 | 0% | 0 | 0 | Administrator | 0 | 0
Electrical equipment | 0 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
Planning and site supervising | 0 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
CHP an grid access | 0 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
Others | 0 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
1) Sum of investments | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0
General Business Costs | Comment | Factor | Unit | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
2) Personnel costs | increasing from Year 2 | 0% | € | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expenses for service and maintainence biogas plant |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expenses for service and maintainence CHP | constant | 0 | €/kWh | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3) Expenses for service and maintainance including CHP | increasing from Year 1 | 0% |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Machinery materials in case of waste water treatment | 0 | 0 | €/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4) Machinery materials in case of waste water treatment | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5) Waste water treatment costs |  | 0 | €/m³ | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
6) Rent for the site | 0 | 0 | €/m²/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7) Insurance (fire, machinery breakdown, etc.) | 0 | 0 | €/m²/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8) Loading/moving machinery on site: Fuel ,Tires rent of a telescopic front loader |  | 0 | €/h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9) Other individual costs | Euro/Mg Input | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Costs of General Business (Sum of Pos 2 to 9) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Biogas Plant Input Data | Gas production [m³/T] | Gas quality [%CH4] | Unit
Quantity of maize silage TS=32% | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of gras silage TS= 40% | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of cattle/pig manure TS=10% | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of grease trap residues | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of packed grocery store waste | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average total solids |  | 0%
Quantity of contaminents after pre treatment, TS=40% | partitition ratio | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of contaminants to landfill/incineration after drying | partitition ratio | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of Source Separated Organics (Biowaste) | 0 | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average total solids |  | 0%
Quantity of contaminents after pre-treatment, TS=40% | partitition ratio | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of contaminants to landfill/incineration after drying | partitition ratio | 0% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs of biomass | Total solid content | Factor/price | Unit
Costs of maize silage; TS= | 0% | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10) costs of maize silage; | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs of gras silage; TS= | 0% | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11) costs of gras silage; | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs of cow/pig manure TS= | 0% | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12) costs of cow/pig manure; | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
costs/revenues of grease trap content TS= | 0% | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13) costs/revenues of grease trap content TS= | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15) costs for landfilling/incineration contaminants |  | 0 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16) cost for electricity (plant supply in% of produced energy) Eel= | 0% | 0 | €/kWh | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Costs of Biomass (Sum of Pos 10 to 16) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Mass balance biogas plant: | Comment |  | Unit
Average totals solids of input materials |  |  | % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Deluting water for total solids in substrate = 25% (cycle water used!) | Only in case of waste treating plants ! |  | m³/year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Input into biogas plant (case of wastes: after contaminants removal) |  |  | Mg/year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average amount of produced biogas per ton of input material |  |  | m³/t | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average quality of the produced biogas |  |  | %CH4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average produced biogas per year |  |  | m³/year | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average produced biogas per hour |  |  | m³/h | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Necessary digestion volume (Digester capacity) |  |  | m³ | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average remaining biogas sludge without separation |  |  | m³/year | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average remaining TS in biogas sludge without separation |  |  | % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average remaining Biogas Sludge liquid phase TS =5% |  |  | m³/year | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Average remaining compost TS=25% |  |  | t/year | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Revenues | Comment | Factor/price | Unit
Revenues of packed food stuff | constant basis |  | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17) Revenues of treating grocery store waste | decreasing | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues of Source Sepatated Organics (Biowaste) | constant basis |  | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18) Revenues of treating Source Separated Organics | decreasing | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Combined Heat and Power Plant (CHP)
Possible heat extraction | thermal efficancy of CHP | 0% | kWh/h | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
possible electrical power | electrical efficancy of CHP | 0% | kWh/h | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Selling heat in % of theoretical production |  | 0% | kWh/h | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Selling electricity in % of theoretical production |  | 0% | kWh/h | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
19) Revenues of selling heat |  |  | €/kW | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20) Revenues of selling electrical power |  |  | €/kW | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total revenues (Sum of Pos 17 to 20) |  |  | Euro | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Finanzing (Capital spending year 0-2) | Amount | Interest rate | Credit period (years)
Construction/Buildings | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Machinery | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Electrical equipment | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Planning and site supervising | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CHP an grid access | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Others | 0 | 0% | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Liquid assets | 0 | 0% | 0 | 0 Year 1: #DIV/0!; 0 Year 2: #DIV/0!; 0 Year 3: #DIV/0!; 0 Year 4: #DIV/0!; 0 Year 5: #DIV/0!
Sum capital | 0
miscellaneous capital demand Year 0 | 0 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
miscellaneous capital demand Year 1 | 0 | 0% | 0 |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
miscellaneous capital demand Year 2 | 0 | 0% | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total of capital costs |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
total nominal amount |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
total cumulated |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
liquidity before withdrawals |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
discount rate=Internal Return Rate (IRR), if row 114=0 |  |  | 0%
annual earnings |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
discounte rate |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
discounted earnings |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
total year 0 to 14 (Net Present Value; NPV at discount rate of row 104) |  |  | #DIV/0!
Note on A69: Important number to get an idea about the size of the plant
Note on A72: Use for calculate necessary storage capacity.
Note on A73: Tonnage of produced compost. To get volume multiply with 1,4.
Note on B18: Cheap and low standart plant is 2800€/kWh installed electrical capacity. Medium standart plant is 3500€/kWh installed electrical capacity High standart plant is 4000€/kWh installed electrical capacity Waste treatment plants are about 5600€/kWh installed electrical capacity Amounts are estimated costs in total, e.g. including earth works. Good boundary conditions.
Note on B25: Calculation value that depends on technology.
Note on B28: Space request for the biogas plant in total: Calculate space need for silo and multiply by 2. 500kWel Plant is about 8000m²
Note on B35: Average biogas yield of maize silage. Depends on silage quality. Range between 180 and 200m³/t
Note on B36: Average biogas yield of gras silage. Depends on silage quality. Range between 180 and 240m³/t
Note on B37: Average biogas yield of manure: pig=24m³/t cattle=25-28m³/t
Note on B38: Average biogas yield of grease trap removal: Yield depends on fatt content. First estimation: Fat contentin %x10=estimated biogas yield. 28% fat/t yield to 280m³/t.
Note on B39: Average biogas yield of slurry of pre-treated food stuff. Depends on type of food. Rough estimation is 185m³/t
Note on B43: Avarage biogas yield of sorce separated organics. Range between 130m³/t up to 180m³/t, depending on quality.
Note on B49: Total solids of used maize silage. Range typically between 28 and 34%. Necessary for calculation of mass balance.
Note on B51: Total solids of used grass silage. Range typically between 34 and 42%. Necessary for calculation of mass balance.
Note on B53: Total solids of used manure. Range typically between 7% (pig) and 10% (cattle). Necessary for calculation of mass balance.
Note on B55: Total solids of used grease trap waste. Range typically between 5% without dewatering and 40% dewatered. Necessary for calculation of mass balance.
Note on B58: Electrical demand of the biogas plant in % of production capacity. Typical numbers for an agricultural plant ranges between 5 and 10%. Typical numbers for waste treatment plants range between 10 and 15%
Note on B99: Money that is needed in addition to the investment in the plant. Necessary maybe for start up phase or anything else.
Note on C21: Increasing starts with year 2, because year 0 and 1 are calculated in row 9 and 10
Note on C23: Typical expenses for service and maintainance of a modern new CHP are about 0,01€/kWh produces electricity.
Note on C27: Costs are about 2,5€/m³ discharge fee for pre-treated waste water into the sewer.
Note on C28: depends on what is negotiated. Varies from 0 to 2,3€/m²
Note on C29: Depends on type insurances. Including all necessary insurences like machinery breakdown, earnings loss, environmental liability etc ist about 3€/m²
Note on C30: Depends on silage to move. Estimation is 3 minutes for 2 tonns. Costs range between 60 and 100€/h
Note on C31: Any cost that is not calculated. E.g. silage covering, additional transportation costs, controll of biological parameters etc.
Note on C35: Average gas quality of maize silage
Note on C36: Average biogas quality of grass silage
Note on C37: Average biogas quality of manure
Note on C38: Average bigas quality of grease trap content
Note on C39: Average biogas quality of pre- treated food stuff. Depends on waste composition. Range betwee 150-200m³/t
Note on C40: Average total solids of the packed food stuff including contaminations.
Note on C41: Partition between contaminants and substrate for digestion. Example 90% means 90% substrate and 10% contaminations.
Note on C42: Freshly separated contaminants have water content about 60%. Drying them could reduce weight. Example assumes 50% weighr reduction by drying the contaminants.
Note on C43: Average biogas quality of pre treated source separated organics. Depends on composition. Range between 52 and 60%.
Note on C44: Average total solids of source separated organic wastes. Range typically between 30 and 40%
Note on C45: Partition between contaminants and substrate for digestion. Example 90% means 90% substrate and 10% contaminations.
Note on C46: Freshly separated contaminants have water content about 60%. Drying them could reduce weight. Example assumes 50% weighr reduction by drying the contaminants.
Note on C49: Costs of maize silage. Ready silage iin the silo at the plant.
Note on C51: Costs of grass silage. Ready silage in the silo at the plant.
Note on C53: Cost for manure handling to get it to the plant.
Note on C55: Revenue for treatment of grease trap content
Note on C57: Costs for landfilling or incineration of contaminants. Refers to line 39 and 43
Note on C58: Cost for electricity
Note on C76: Depends on country specific conditions. In Germany prices range between 80 and 125€/t
Note on C77: Revenues allways decrease. Fill in an estimated decreasing factor.
Note on C78: Depends on country specific conditions. In Germany prices range between 20 and 50€/t
Note on C79: Revenues allways decrease. Fill in an estimated decreasing factor.
Note on C82: Depend on machine: Range between 41 and 58%
Note on C83: Depend on machine: Range between 32 and 41%
Note on C84: Depends on local situation
Note on C85: Theoretically could be 100%. But maintainance times, and other disturnances lower the full capacity running time of a plant. Good numbers are between 85 and 93%. In other words between 7800 and 8150hours of full capacity work.
Note on C86: Typically ranges between 0,01 and 0,04€
Note on C87: Depends on the feed in tarif
Note on D111: NPV: Put in interest rate that investor wants. See cell E114. IF NPV>=0 investment fits revenue criteria. IF NPV<0 investment does not fit criteria, IRR: Change interest rate until cell E114 is zero or close to zero. Result is IRR
Note on E12: Maintainance as % of investment
Note on E13: Maintainance as % of investment
Note on E14: Maintainance as % of investment
Note on E15: Maintainance as % of investment
Note on E16: Service and Maintainance of CHP is calculated in row 21
Note on E17: Maintainance as % of investment
Note on E35: maize silage input in year the of erection; start up
Note on F35: Maize silage input in year 1, etc.
Note on H12: If turn key plant, durin erection no operater is needed. Beginns with start up. Costs depend on local conditions.

## Summary
BIG>East Biogas Calculation
Farm based biogas plant, turn key project
| Project name: | AAAAAAAA
| Date: | 00.00.0000
1. Investment costs
| Total of Investment | 0 | €
| Liquid assets | 0 | €
2. Feedstock data (Year 1):
| Quantity of maize silage TS=32% | 0 | t/year
| Quantity of gras silage TS= 40% | 0 | t/year
| Quantity of cattle/pig manure TS=10% | 0 | t/year
| Quantity of grease trap residues | 0 | t/year
| Quantity of packed grocery store waste | 0 | t/year
| Quantity of source separated organics (biowaste) | 0 | t/year
| Removed contaminats | 0 | t/year
| Added water | #DIV/0! | t/year
| Feedstock in biogas plant total | #DIV/0! | t/year
| Average costs/income of feedstock per year | #DIV/0! | €/year
3. Plant data
| Average biogas yield | #DIV/0! | m³/year
| Average energy yield | #DIV/0! | kW/year
| estimated electrical power output | #DIV/0! | kWh/h
| estimated electrical power consumption | #DIV/0! | kWh/h
| produced amount of compost TS=25% | #DIV/0! | t/year
| produced amount of liquid digestate TS= 5% | #DIV/0! | t/year
4. Revenues on energy
| Revenues from selling electricity | #DIV/0! | €/year
| Revenues from selling heat | #DIV/0! | €/year
5. Plant working costs
| General Business Costs | #DIV/0! | €/year
| Costs for electrical energy | #DIV/0! | €/year
| Costs for contaminats removal | 0 | €/year
6. Earnings before Interests |  | #DIV/0!
7. | Internal Return Rate of Project (IRR) | 0%
8. Capital costs: |  | #DIV/0! | €/year
9. | Total earnings | #DIV/0! | €/year
This Project (Contract No. EIE/07/214) is supported by:

## Example of data input
BIG>East Biogas Calculation | Farm based biogas plant, turn key project
| Project name: | Sample
| Date: | 2008-12-29
This Project (Contract No. EIE/07/214) is supported by:
Blue: | Input data | Costs negative, Revenues positive!
Red: | costs | Costs have to be negative numbers!
green: | revenues | Revenues have to be positive numbers!
purple: | results of calculations
Investment costs |  |  |  | Costs for maintainence in % of investment |  |  | Personnel Costs
| Year 0 (plant installation) | Year 1 | Year 2 | (without CHP) | Year 1 | Year 2 and later |  | Year 0 | Year 1 and later
Construction/Buildings/Earth works | -700000 | 0 | 0 | 2% | -14000 | -14000 | Operators | -5000 | -15000
Machinery | -550000 | 0 | 0 | 6% | -33000 | -33000 | Administrator | -30000 | -30000
Electrical equipment | -170000 | 0 | 0 | 4% | -6800 | -6800 | others | 0 | 0
Planning and site supervising | -180000 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
CHP an grid access | -450000 | 0 | 0 | 0% | 0 | 0 | others | 0 | 0
Others | 0 | 0 | 0 | 2% | 0 | 0 | others | 0 | 0
1) Sum of investments | -2050000 | 0 | 0 |  | -53800 | -53800 |  | -35000 | -45000
General Business Costs | Comment | Factor | Unit | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
2) Personnel costs | increasing from Year 2 | 2% | € | -35000 | -45000 | -45900 | -46818 | -47754.36 | -48709.4472 | -49683.6361 | -50677.3089 | -51690.855 | -52724.6721 | -53779.1656 | -54854.7489 | -55951.8439 | -57070.8808 | -58212.2984 | -59376.5443
Expenses for service and maintainence biogas plant |  |  |  | 0 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800 | -53800
Expenses for service and maintainence CHP | constant | -0.01 | €/kWh | -4580.994 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466 | -41102.466
3) Expenses for service and maintainance including CHP | increasing from Year 1 | 1% |  | -4580.994 | -95851.4907 | -96810.0056 | -97778.1056 | -98755.8867 | -99743.4455 | -100740.88 | -101748.2888 | -102765.7717 | -103793.4294 | -104831.3637 | -105879.6773 | -106938.4741 | -108007.8589 | -109087.9374 | -110178.8168
Machinery materials in case of waste water treatment | 0 | -2 | €/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4) Machinery materials in case of waste water treatment | increasing from Year 1 | 3% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5) Waste water treatment costs |  | 0 | €/m³ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6) Rent for the site | 8000 | -0.5 | €/m²/year | 0 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000 | -4000
7) Insurance (fire, machinery breakdown, etc.) | 8000 | -3 | €/m²/year | -12000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000 | -24000
8) Mobility on the site: Fuel ,Tires rent of a telescopic front loader |  | -60 | €/h | -1800 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600 | -15600
9) Other individual costs | Euro/Mg Input | -1 | €/t | -1200 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400 | -10400
Total Costs of General Business (Sum of Pos 2 to 9) |  |  |  | -54580.994 | -194851.4907 | -196710.0056 | -198596.1056 | -200510.2467 | -202452.8927 | -204424.5161 | -206425.5977 | -208456.6267 | -210518.1016 | -212610.5293 | -214734.4262 | -216890.318 | -219078.7396 | -221300.2358 | -223555.3612
Biogas Plant Input Data | Gas production [m³/T] | Gas quality [%CH4] | Unit
Quantity of maize silage TS=32% | 190 | 53% | t/year | 1100 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900 | 7900
Quantity of gras silage TS= 40% | 225 | 55% | t/year | 100 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500
Quantity of cattle/pig manure TS=10% | 25 | 60% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of grease trap residues |  | 70% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of packed grocery store waste | 185 | 63% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average total solids |  | 32%
Quantity of contaminents after pre treatment, TS=40% | partitition ratio | 90% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of contaminants to landfill/incineration after drying | partitition ratio | 50% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of Source Separated Organics (Biowaste) | 165 | 56% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average total solids |  | 32%
Quantity of contaminents after pre-treatment, TS=40% | partitition ratio | 90% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quantity of contaminants to landfill/incineration after drying | partitition ratio | 50% | t/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs of biomass | Total solid content | Factor/price | Unit
Costs of maize silage; TS= | 32% | -28 | €/t | -30800 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200
10) costs of maize silage; | increasing from Year 1 | 0% |  | -30800 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200 | -221200
Costs of gras silage; TS= | 40% | -31 | €/t | -3100 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500
11) costs of gras silage; | increasing from Year 1 | 0% |  | -3100 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500 | -77500
Costs of cow/pig manure TS= | 10% | -1 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12) costs of cow/pig manure; | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
costs/revenues of grease trap content TS= | 28% | 22 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13) costs/revenues of grease trap content TS= | increasing from Year 1 | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15) costs for landfilling/incineration contaminants |  | -75 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16) cost for electricity (plant supply in% of produced energy) Eel= | 7% | -0.11 | €/kWh | -3527.3654 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988 | -31648.8988
Total Costs of Biomass (Sum of Pos 10 to 16) |  |  |  | -37427.3654 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988 | -330348.8988
Mass balance biogas plant: | Comment |  | Unit
Average totals solids of input materials |  |  | % | 32.67% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92% | 33.92%
Deluting water for total solids in substrate = 25% (cycle water used!) | Only in case of waste treating plants ! |  | m³/year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Input into biogas plant (case of wastes: after contaminants removal) |  |  | Mg/year | 1200 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400
Average amount of produced biogas per ton of input material |  |  | m³/t | 192.9167 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135 | 198.4135
Average quality of the produced biogas |  |  | %CH4 | 53.19% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55% | 53.55%
Average produced biogas per year |  |  | m³/year | 231500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500 | 2063500
Average produced biogas per hour |  |  | m³/h | 26.4269 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594 | 235.5594
Necessary digestion volume (Digester capacity) |  |  | m³ | 253.6986 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699 | 2261.3699
Average remaining biogas sludge without separation |  |  | m³/year | 933.775 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975 | 8026.975
Average remaining TS in biogas sludge without separation |  |  | % | 10.4812 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887 | 14.3887
Average remaining Biogas Sludge liquid phase TS =5% |  |  | m³/year | 729.0448 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47 | 5012.47
Average remaining compost TS=25% |  |  | t/year | 204.7302 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505 | 3014.505
Revenues | Comment | Factor/price | Unit
Revenues of packed food stuff | constant basis | 90 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17) Revenues of treating grocery store waste | decreasing | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues of Source Sepatated Organics (Biowaste) | constant basis | 50 | €/t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18) Revenues of treating Source Separated Organics | decreasing | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Combined Heat and Power Plant (CHP)
Possible heat extraction | thermal efficancy of CHP | 48% | kWh/h | 67.4767 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274 | 605.4274
possible electrical power | electrical efficancy of CHP | 40% | kWh/h | 56.2306 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228 | 504.5228
Selling heat in % of theoretical production |  | 70% | kWh/h | 47.2337 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992 | 423.7992
Selling electricity in % of theoretical production |  | 93% | kWh/h | 52.2945 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062 | 469.2062
19) Revenues of selling heat |  | 0.02 | €/kW | 8275.344 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616 | 74249.616
20) Revenues of selling electrical power |  | 0.185 | €/kW | 84748.389 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621 | 760395.621
Total revenues (Sum of Pos 17 to 20) |  |  | Euro | 93023.733 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237 | 834645.237
Finanzing (Capital spending year 0-2) | Amount | Interest rate | Credit period (years)
Construction/Buildings | -700000 | 5.5% | 15 |  | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183 | -69737.9183
Machinery | -550000 | 5.5% | 15 |  | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787 | -54794.0787
Electrical equipment | -170000 | 5.5% | 15 |  | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516 | -16936.3516
Planning and site supervising | -180000 | 5.5% | 15 |  | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076 | -17932.6076
CHP an grid access | -450000 | 5.5% | 10 |  | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959 | -59700.4959
Others | 0 | 5.5% | 15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid assets | -50000 | 5.5% | 5 | -53800 Year 1: -11708.8218; -53800 Year 2: -11708.8218; -53800 Year 3: -11708.8218; -35000 Year 4: -11708.8218; -45000 Year 5: -11708.8218
Sum capital | -2100000
miscellaneous capital demand Year 0 | 0 | 5.5% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
miscellaneous capital demand Year 1 | 0 | 5.5% | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
miscellaneous capital demand Year 2 | 0 | 5.5% | 10 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total of capital costs |  |  |  | 0 | -230810.2739 | -230810.2739 | -230810.2739 | -230810.2739 | -230810.2739 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521 | -219101.4521
total nominal amount |  |  |  | 51015.3736 | 78634.5736 | 76776.0587 | 74889.9587 | 72975.8176 | 71033.1715 | 80770.37 | 78769.2884 | 76738.2594 | 74676.7845 | 72584.3568 | 70460.4599 | 68304.5681 | 66116.1465 | 63894.6503 | 61639.5249
total cumulated |  |  |  | 51015.3736 | 129649.9472 | 206426.006 | 281315.9646 | 354291.7822 | 425324.9538 | 506095.3237 | 584864.6122 | 661602.8715 | 736279.6561 | 808864.0129 | 879324.4727 | 947629.0408 | 1013745.1873 | 1077639.8376 | 1139279.3626
liquidity before withdrawals |  |  |  | 51015.3736 | 129649.9472 | 206426.006 | 281315.9646 | 354291.7822 | 425324.9538 | 506095.3237 | 584864.6122 | 661602.8715 | 736279.6561 | 808864.0129 | 879324.4727 | 947629.0408 | 1013745.1873 | 1077639.8376 | 1139279.3626
discount rate=Internal Return Rate (IRR), if row 114=0 |  |  | 11.47%
annual earnings |  |  |  | 1015.3736 | 309444.8475 | 307586.3326 | 305700.2326 | 303786.0915 | 301843.4454 | 299871.822 | 297870.7405 | 295839.7114 | 293778.2366 | 291685.8089 | 289561.9119 | 287406.0202 | 285217.5986 | 282996.1024 | 280740.977
discounte rate |  |  |  | 1 | 0.8971 | 0.80479 | 0.72198 | 0.64769 | 0.58105 | 0.52126 | 0.46762 | 0.4195 | 0.37634 | 0.33761 | 0.30287 | 0.27171 | 0.24375 | 0.21867 | 0.19617
discounted earnings |  |  |  | -2098984.6264 | 277603.7028 | 247543.2176 | 220709.8755 | 196759.5777 | 175384.716 | 156310.3198 | 139290.609 | 124105.9094 | 110559.893 | 98477.1087 | 87700.7734 | 78090.7956 | 69522.0075 | 61882.5838 | 55072.6266
total year 0 to 14 (Net Present Value; NPV at discount rate of row 104) |  |  | 29.0899
Note on A69: Important number to get an idea about the size of the plant
Note on A72: Use for calculate necessary storage capacity.
Note on A73: Tonnage of produced compost. To get volume multiply with 1,4.
Note on B18: Cheap and low standart plant is 2800€/kWh installed electrical capacity. Medium standart plant is 3500€/kWh installed electrical capacity High standart plant is 4000€/kWh installed electrical capacity Waste treatment plants are about 5600€/kWh installed electrical capacity Amounts are estimated costs in total, e.g. including earth works. Good boundary conditions.
Note on B25: Calculation value that depends on technology.
Note on B28: Space request of the biogas plant in total: Calculate space need of silo and multiply by 2. 500kWel Plant is about 8000m²
Note on B35: Average biogas yield of maize silage. Depends on silage quality. Range between 180 and 200m³/t
Note on B36: Average biogas yield of gras silage. Depends on silage quality. Range between 180 and 240m³/t
Note on B37: Average biogas yield of manure: pig=24m³/t cattle=25-28m³/t
Note on B38: Average biogas yield of grease trap removal: Yield depends on fatt content. First estimation: Fat contentin %x10=estimated biogas yield. 28% fat/t yield to 280m³/t.
Note on B39: Average biogas yield of slurry of pre-treated food stuff. Depends on type of food. Rough estimation is 185m³/t
Note on B43: Avarage biogas yield of sorce separated organics. Range between 130m³/t up to 180m³/t, depending on quality.
Note on B49: Total solids of used maize silage. Range typically between 28 and 34%. Necessary for calculation of mass balance.
Note on B51: Total solids of used grass silage. Range typically between 34 and 42%. Necessary for calculation of mass balance.
Note on B53: Total solids of used manure. Range typically between 7% (pig) and 10% (cattle). Necessary for calculation of mass balance.
Note on B55: Total solids of used grease trap waste. Range typically between 5% without dewatering and 40% dewatered. Necessary for calculation of mass balance.
Note on B58: Electrical demand of the biogas plant in % of production capacity. Typical numbers for an agricultural plant ranges between 5 and 10%. Typical numbers for waste treatment plants range between 10 and 15%
Note on B99: Money that is needed in addition to the investment in the plant. Necessary maybe for start up phase or anything else.
Note on C21: Increasing starts with year 2, because year 0 and 1 are calculated in row 9 and 10
Note on C23: Typical expenses for service and maintainance of a modern new CHP are about 0,01€/kWh produces electricity.
Note on C27: Costs are about 2,5€/m³ discharge fee for pre-treated waste water into the sewer.
Note on C28: depends on what is negotiated. Varies from 0 to 2,3€/m²
Note on C29: Depends on type insurances. Including all necessary insurences like machinery breakdown, earnings loss, environmental liability etc ist about 3€/m²
Note on C30: Depends on silage to move. Estimation is 3 minutes for 2 tonns. Costs range between 60 and 100€/h
Note on C31: Any cost that is not calculated. E.g. silage covering, additional transportation costs, controll of biological parameters etc.
Note on C35: Average gas quality of maize silage
Note on C36: Average biogas quality of grass silage
Note on C37: Average biogas quality of manure
Note on C38: Average bigas quality of grease trap content
Note on C39: Average biogas quality of pre- treated food stuff. Depends on waste composition. Range betwee 150-200m³/t
Note on C40: Average total solids of the packed food stuff including contaminations.
Note on C41: Partition between contaminants and substrate for digestion. Example 90% means 90% substrate and 10% contaminations.
Note on C42: Freshly separated contaminants have water content about 60%. Drying them could reduce weight. Example assumes 50% weighr reduction by drying the contaminants.
Note on C43: Average biogas quality of pre treated source separated organics. Depends on composition. Range between 52 and 60%.
Note on C44: Average total solids of source separated organic wastes. Range typically between 30 and 40%
Note on C45: Partition between contaminants and substrate for digestion. Example 90% means 90% substrate and 10% contaminations.
Note on C46: Freshly separated contaminants have water content about 60%. Drying them could reduce weight. Example assumes 50% weighr reduction by drying the contaminants.
Note on C49: Costs of maize silage. Ready silage iin the silo at the plant.
Note on C51: Costs of grass silage. Ready silage in the silo at the plant.
Note on C53: Cost for manure handling to get it to the plant.
Note on C55: Revenue for treatment of grease trap content
Note on C57: Costs for landfilling or incineration of contaminants. Refers to line 39 and 43
Note on C58: Cost for electricity
Note on C76: Depends on country specific conditions. In Germany prices range between 80 and 125€/t
Note on C77: Revenues allways decrease. Fill in an estimated decreasing factor.
Note on C78: Depends on country specific conditions. In Germany prices range between 20 and 50€/t
Note on C79: Revenues allways decrease. Fill in an estimated decreasing factor.
Note on C82: Depend on machine: Range between 41 and 58%
Note on C83: Depend on machine: Range between 32 and 41%
Note on C84: Depend on local situation
Note on C85: Theoretically could be 100%. But maintainance times, and other disturnances lower the full capacity running time of a plant. Good numbers are between 85 and 93%. In other words between 7800 and 8150hours of full capacity work.
Note on C86: Typically ranges between 0,01 and 0,04€
Note on C87: Depends on the feed in tarif
Note on D111: NPV: Put in interest rate that investor wants. See cell E114. IF NPV>=0 investment fits revenue criteria. IF NPV<0 investment does not fit criteria, IRR: Change interest rate until cell E114 is zero or close to zero. Result is IRR
Note on E12: Maintainance as % of investment
Note on E13: Maintainance as % of investment
Note on E14: Maintainance as % of investment
Note on E15: Maintainance as % of investment
Note on E16: Service and Maintainance of CHP is calculated in row 21
Note on E17: Maintainance as % of investment
Note on E35: maize silage input in year the of erection; start up
Note on F35: Maize silage input in year 1, etc.
Note on H12: If turn key plant, durin erection no operater is needed. Beginns with start up. Costs depend on local conditions.

## Guidelines for data input
This Project (Contract No. EIE/07/214) is supported by:
Guidline on how to use the BIG>East Economic Model
Please follow the listed steps for making an economic analysis with the BIG>East Economic Model prepared by FITEC
Please be aware that costs have to be inserted as negative numbers and revenues as positive numbers.
The second year the plant has to run on full capacity, because the data from the second year is used for the summary sheet.
Step 1: Insert the available biomass in metric tonnes (Starting with E35, then F35ff; next E36 then F36ff...)
Step 2: The results regarding Biogas yields can be found in lines 65 to 68. Check if these numbers fit your expectations.
Step 3: In line 83 you find the possible electrical power output of the plant. Use this to calculate the overall investment with the factors given in comment of cell B18.
Step 4: Split the total investment from step 3 into the lines B12-B17 in a way that the sum calculated in B18 is the sum calculated in step 3.
Step 5: Calculate the personnel expenses in cells I12 to I17 and J12 to J17. The personnel costs depend strongly on the size and the characteristics of the plant. Try to get information from general contractors.
Step 6: Calculate maintenence expenses: Fill in cells E12 to E15. Then decide about price increase factor (cell C24).
Step 7: Insert the costs for rent of site in cells B28 and C28
Step 8: Insert estimated insurance costs in C29
Step 9: Asses the expenses for the loading/moving equipment on the biogas site in cell C30.
Step 10: Give an estimation of other (individual) costs in cell C31
Step 11: Define prices for feedstock and price increasing factors in rows 49 to 56.
Step 12: Define the revenues for the sale of heat in cell C86
Step 13: Fill in revenue of feed-in tariff, based on legal framework conditions in your country (cell C87).
Step 14: Fill in interest rates and payback periods.
Step 15: Determine necessary liquid assets, cell B98. See line 108 total nominal amount. Value in each year should be minimum 50.000€.
Step 16: Calculate IRR and NPV using cells D111 and D115

## General planning guidelines
Planning and building a biogas plant |  |  |  | This Project (Contract No. EIE/07/214) is supported by: |  | Finsterwalder Umwelttechnik GmbH & Co. KG
Mailinger Weg 5
1. Setting up a biogas plant project | [5 empty] | D-83233 Bernau
www.fitec.com
Motivations for starting a biogas project can vary from environmental protection and waste reduction to renewable energy production, and can include financial and non-financial incentives. The usual initiators of biogas projects are farmers, organic waste producers and collectors, municipalities and energy producers.
From the vital spark of a biogas project idea to the decommisioning of the biogas plant at the end of its life-time, the process undergoes the following steps:
1. Project idea
2. Pre-Feasibility Study
3. Feasibility Study
4. Detailed Planning of the Biogas Plant
5. Permission Procedure
6. Construction of the Biogas Plant
7. Operation and Maintenance
8. Renewal and Replacement of Components
9. Demolition or Refurbishment
This chapter is intended as a guide through the first planning step and to the general layout of a biogas plant. The actual planning and design of the future biogas plant requires detailed site specific information and assessments, therefore being beyond the scope of this handbook.
In order to define a concrete biogas project idea, one should answer the following questions:
1. What is the aim of the biogas project?
2. My capacity to realise the project?
3. How can I secure continuous feedstock supply?
4. Where can I locate the biogas plant?
The central premises for the implementation of a biogas project are the existence and availability of feedstock supply. Furthermore, the possibility of selling or using the end products of the biogas plant, namely biogas/ biomethane, electricity, heat and digestate, has to be ensured.
The next step is to assess if the project is possible under local conditions. Thereby the following issues have to be considered:
 Defining and evaluating a business plan and a financing strategy
 Involving an experienced planning company
 Involving other key actors like local authorities, additional feedstock suppliers, financing companies, investors and financiers, authorities, and municipalities
There are different successful models in setting up a biogas project, depending on the availability of the feedstock and the financial power of the investors. Each situation is individual and needs unique approaches.
2. How to secure continuous feedstock supply
The first step in developing a biogas plant project idea is to make a critical inventory of the available organic feedstock types and amounts in the region.
There are two main categories of biomass resources which can be used as feedstock in a biogas plant. The first category includes farm based products such as animal manure and slurries, energy crops (e.g. maize, grass silage), vegetable residues, agricultural by- products and farm based wastes. The second category consists of a broad range of suitable organic wastes such as catering waste, municipal solid waste, and wastes from the food, feed and pharmaceutical industry. The suitability of all feedstock types must be evaluated regarding their methane potential, digestibility, possible contamination with chemical, biological or physical contaminants, as well as from an economic point of view (e.g. gate fees, collection and transportation costs).
The amount of available and constant feedstock supply and the size of the future biogas plant are closely related when developing a biogas project. The supply costs of a specific feedstock must always be included in the evaluation of their suitability for anaerobic digestion.
When negotiating feedstock supply for the future biogas plant, the feedstock characteristics described in subchapters 8.2.1 and 8.2.2 can provide guidance for the process.
2.1 Characterising the plant size for farm based feedstock
Animal manure and energy crops are among the most common farm based feedstock types for agricultural biogas plants. Their main characteristics are described below.
Typical data for a range of farm based feedstock. Source: T. Finsterwalder, 2008.
| DM content [%] | oDM content [%] | Biogas yield | Biogas yield | Methane content [%]
|  |  | [m³/t oDM] | [m³/t FF]
Cattle manure | 10 | 75 | 340 | 25 | 55
Pig manure | 8 | 75 | 400 | 24 | 58
Grass silage | 40 | 85.6 | 656 | 225 | 55
Maize silage | 32 | 95.4 | 611 | 187 | 53
In order to determine the suitable plant size e.g. in electrical output, it is necessary to consider the available feedstock. The following two examples describe how to easily calculate the suitable installed capacity in kWel output.
Example of determining the plant size/ installed capacity of a biogas plant based on manure: (See rows 37 and 53 in spreadsheet)
The daily volume of manure (m³/ day) has to be determined
The content of total solids in manure/ slurry (DM%) has to be specified
If the DM content of manure/ slurry is 9-10%, the potential electrical power capacity is calculated by multiplying the daily volume of manure with 2.4 kWeld/m³.
A farmer having 200 milk cows will produce about 10 m³/ day cow slurry/ manure with a DM of 10%.
The calculation of the electrical power installation will be:
10 m3/d x 2,4 kWeld/m³ = 24 kWel
Example of determining the plant size of a biogas plant digesting energy crops: (See rows 35 and 35)
The available area under cultivation (e.g. maize, grass) has to be determined in hectares (ha)
The potential of electrical power per hectare and per year (kWel/ ha/ year) is estimated, based on average soil quality and whether conditions.
Assuming that every hectare is worth 2.5 kWel electrical power per year, the possible electrical power capacity is calculated by multiplying the available area under cultivation with 2.5 kWel/ ha.
200 ha x 2.5 kW/ha = 500 kWel
Having the results from manure and energy crops, the sum of the results gives the potential electrical power generation of the future biogas plant.
Agricultural biogas plants can benefit from the advantage of scale. Present experience from Germany shows that, in the case of using energy crops as feedstock, biogas plant sizes below 250 kWel electrical power installation need special efforts to be economically viable. If after the first check, the biogas plant size is too small, it may be worth thinking about co-operation with other farmers, to achieve a size which is economically profitable. This situation is very common in Germany, where there are biogas plants with more than 15 farmers working in co-operation.
2.2 Characterising the plant size for industrial/ municipal wastes
There are many agricultural biogas plants co-digesting industrial organic wastes or source separated organic wastes from municipalities. In most cases, municipalities and waste collectors need to treat wastes they already handle or are going to handle.
When considering supplying these kinds of wastes to a future biogas plant, the first step is to evaluate the feedstock quality and methane potential. Then the potential plant size can be estimated based on above mentioned data. The potential gas yield of substrates varies from producer to producer, depending on the technology and the raw materials used. Nevertheless, some guiding figures can be found below.
Typical data for some waste types, frequently used as AD substrates. Source: T. Finsterwalder, 2008.
| DM content [%] | oDM content [%] | Biogas yield | Biogas yield | Methane content [%]
|  |  | [m³/t oDM] | [m³/t FF]
Food waste | 27 | 92 | 720 | 179 | 65
Biowaste (SSO) | 40 | 80 | 454 | 145 | 60
Grease trap removal
(pre-dewatered) | 36 | 69 | 1200 | 298 | 61
Quality of organic wastes varies from country to country and from region to region, being dependent of local consumer habits. It is not likely that even an experienced consultant will be able to estimate biogas yields of wastes by visual examination only. After having checked the availability of a certain type of waste, it is necessary to do eudiometer testing of gas yield and gas quality, for appropriate dimensioning of the future biogas plant.
Case specific calculations of the above premises can be done using the calculation model available for free download at http://www.big-east.eu/.
2.3 Feedstock supply schemes
Successful planning of a biogas project implies elaboration of feedstock supply schemes. There are two types of supply schemes, for single supplier and for several suppliers.
1. A single supplier (e.g. farm, organic waste producer) has enough manure, organic waste, agricultural land or all of the above, to provide the feedstock necessary to run a biogas plant.
2. Several suppliers (e.g. smaller farms, organic waste producers) work together in a consortium (e.g. in a cooperative company, civic society) to build, run and supply feedstock to a biogas plant.
In both cases, it is important to secure constant and long term supply of the necessary AD feedstock. This is rather simple if the supplier is a single farm, with corresponding owned cultivated area. In the case of a consortium of owners and feedstock suppliers, every supplier has to sign a long term contract, containing the following points as a minimum:
 Contract duration
 Guaranteed amount of feedstock supply or area of cultivation
 Guaranteed quality of the delivered biomass
 Payments conditioned by the delivered quantity and quality
In the situation where the feedstock suppliers are also investors or co-owners of the biogas plant, a separate contract has to be negotiated with each one of them, stipulating their duties and responsibilities.
3. Where to locate the biogas plant
The second planning step in a biogas project idea is to find a suitable site for the establishment of the biogas plant. The list below shows some important considerations to be made, before choosing the location of the future plant:
 The site should be located at suitable distance from residential areas in order to avoid inconveniences, nuisance and thereby conflicts related to odours and increased traffic to and from the biogas plant.
 The direction of the dominating winds must be considered in order to avoid wind born odours reaching residential areas.
 The site should have easy access to infrastructure such as to the electricity grid, in order to facilitate the sale of electricity, and to the transport roads in order to facilitate transport of feedstock and digestate.
 The soil of the site should be investigated before starting the construction.
 The chosen site should not be located in a potential flood affected area.
 The site should be located relatively close (central) to the agricultural feedstock production (manure, slurry, energy crops) aiming to minimise distances, time and costs of feedstock transportation.
 For cost efficiency reasons, the biogas plant should be located as close as possible to potential users of the produced heat. Alternatively, other potential heat users such as heat demanding industry, green houses etc. can be brought closer to the biogas plant site.
 The size of the site must be suitable for the activities performed and for the amount of biomass supplied.
The required site space for a biogas plant cannot be estimated in a simple way. Experience shows that e.g. a biogas plant of 500 kWel electrical power capacity needs an area of approx. 8,000 m². This figure can be used as a guiding value, but the actual area also depends on the chosen technology.
The following example illustrates a rough estimation of the size of a biogas plant using energy crops as feedstock substrate. The calculation below determines the size of the silo (bunker silo), needed to store the feedstock.
The below calculation is valid in the case of silos with filling heights of about three meters. The planned biogas plant capacity of 250-750 kWel electrical power is used here as an example. The size of the area needed for a biogas project will always be the result of detail planning calculations.
AS = MS / (DF * HS)
MS: | Mass of feedstock stored in the silo | [t]
DF: | Density of feedstock in the silo | [t/m³]
HS: | Height of silo | [m]
AS: | Area of silo | [m²]
In the first estimation, a biogas plant needs double the space of the silo. This means:
AB = 2 * AS
AB: | Area of biogas plant
AS: | Area of silo
4. Getting the building permit
The procedure, criteria and documentation needed in order to get the permission to build a biogas plant is different from country to country.
In order to get the building permit, the investor must document the compliance of the project with national legislation concerning issues like handling and recycling of manure and organic wastes, limit values for emissions, exhaust emissions, noise and odours, impact on groundwater, protection of landscape, work safety, buildings safety etc.
Experience shows that it is very important to involve local authorities in an early stage of the project, to provide them first hand information and to require help with the permitting process and the implementation of the project.
Involving an experienced planning company in getting the building permit can be useful or necessary, depending on the local situation. Some building companies are willing to do this work for low prices, hoping to get the building contract.
5. Start up of a biogas plant
The construction of a biogas plant is similar to construction work in any other business field, but starting up the biogas plant is an operation which must be conducted by experienced people, who are familiar with the design of the plant and with the microbiology of the AD process.
Starting up a biogas plant should always be done by the company who designed and built the plant. During the start up, the plant manager and the staff, who are in charge and responsible for the future plant operation, are trained in running and maintaining the biogas plant. The way this work is done, differs from case to case.
Before starting up the biogas plant, the plant owner must check if all the obligations included in the building permission are fulfilled.
The next step is to fill up the digesters with manure or with digestate from a well functioning biogas plant. Using digestate from an existing biogas plant has the aim to inoculate the new digester with populations of micro-organisms necessary for the AD process. Before starting to feed the system, the feedstock must be heated up to process temperature.
For a single farm based biogas plant, with up to 500 kWel electrical power capacity, the operating and maintenance time is usually around four hours per day. In case of waste treatment plants, the operation and maintenance time is part of the negotiations between plant designer and customer.